ACETABULAR REVISION WITH ALLOGRAFTS

METALLIC ARMATURE AND CEMENTED PROSTHESIS

TECHNIQUE AND LONG TERM OUTCOME

M. Kerboull

M. Hamadouche

L. Kerboull

In the early 70’s, five years after we started using a metal-metal prosthesis, we had to deal with a high rate of acetabular loosenings.

These loosenings were sometimes associated with severe acetabular bone loss.

At that time, it seemed to us that bony reconstruction with bone was absolutely necessary and because a great amount of bone was needed, the use of allografts was required.

So, in 1974 we reactivated our bone bank to fill it with femoral heads resected during total hip replacements.

In addition the existence, not so rare, of a pelvic discontinuity forced us to find a metallic device to secure the fracture.

In 1976, this hemispheric cross shaped stainless steel armature, with 4 branches, an inferior hook and a superior flange with 4 screw holes was manufactured by Howmedica. It was rigid and suitable, unique and symmetrical, of medium size.

It allowed a strong fixation of a pelvic discontinuity and kept in place the grafts coming from a femoral head shaped into cubes and slices to exactly repair the bone defects.

This reconstruction seemed strong enough to implant a prosthesis at the same time.

In 1984 this armature became asymmetrical with an anterior branch shorter than the posterior to avoid any contact with the psoas tendon and give the opening plane an anteversion of 15°.

It also became multiple and there are now a right

and a left series of 6 sizes for sockets from 40 mm to 60 mm in outside diameter. First intended to secure a pelvic discontinuity, this device has been systematically used for more than 30 years every time a bone reconstruction was necessary

and it acts as a guide and a reinforcement for bone reconstruction.

As it is open, it remains flexible and does not disturb the elasticity of the acetabular cavity. It also automatically provides the artificial hip with the right anatomic centre and partially unloads the grafts during their incorporation.

The goal of this bony reconstruction is to restore normal anatomic conditions i.e a bony acetabular cavity of normal size in an anatomic position.

After cleaning the destroyed acetabulum, the selected device is put in place, the hook under the inferior margin near the ischium. Then the device is tilted at 45°. When there is a major structural defect of the roof, the superior flange does not come into contact with bone. One must not place the device more vertical neither open it nor bend the flange to adapt it to the bone loss. On the contrary, the acetabular armature should be used as a guide to evaluate the size and location of bone defect as well as the shape and dimension of the allograft fragments needed to achieve bone reconstruction.

If there is a defect of the inferior margin, more or less extended to the medial wall, it is first repaired with a bone fragment of the adequate size and shape, wedged in between the edges of the defect to give the hook a solid grasp.

Then, the roof bone loss is filled with a bulky graft, if possible unique. This fragment is carefully shaped with the trabeculae properly oriented so that it can resist the pressure stresses in the bearing area. The flange of the device lies on its lateral part made of subchondal bone.

Two screws then fix the flange to the iliac bone, the first, the inferior screw, pass the graft through a reamed hole, directed up and back, to put the armature under tension and bites the sound bone near the sacro iliac joint. A second, usually anterior, is needed to stabilize the armature. Anterior and posterior walls are repaired by embedding slice grafts between the remaining wall bone and branches of the armature. Cavitary defects of pubic bone and ischium, as well as the gaps between structural grafts are filled with impacted cancellous bone.

When the reconstruction is achieved, a socket of adequate size is cemented into this restored and armed bony cavity.

On a frontal view of the hip the armature should appear in a strict lateral view. The obturator hook in close contact with the teardrop and the screws directed up and back bite the sound bone near the sacroiliac joint.

You can find details of this technique in Surgical Techniques in Orthopaedics and Traumatology. This technique, we have been using for 32 years, have allowed us to cope with all the cases encountered on over 2000 in the Orthopaedic Department of Hospital Cochin Paris, and for myself on 700 cases.

Here are some examples:

In this case a major bone loss of the roof and a pelvic discontinuity. Bony restoration has been done with a unique bulky fragment

Third consecutive failure, with severe acetabular bone loss. X-rays, 3 y. PO

Here a cementless prosthesis in a high position. Restoration of a wide superior defect and implantation of the socket in an anatomic position.

Here, a big bone loss with a complete destruction of the roof, the inner wall and inferior acetabular margin. Restoration of the inner wall with a wide and thick slice of  femoral head. X-rays at 1 y. PO.

Union of the grafts, together and with the host bone, has been obtained within 1 year.

In this case, where 3 fragments were used,

Consolidation is obvious at 1 y and perfect at 4 y PO.

Here, two big superposed fragments were used to fill a wide superior defect.

X-rays at 18 months and 3 y PO.

Bone remodelling

which began at 2 years

proceeded for 5 to 6 y. in the bearing zone as shown by this X-rays 4 and 7 y. PO

as well as in the inner wall where at 2 y. PO remodelling is obvious. These radiological pictures strongly suggest that grafts are biologically and mechanically incorporated.

At long term, there has been, up to now, no serious problem.

Here a case at 8 y. with a beautiful bone remodelling.

Another

with the steps of bone remodelling at 6 and 10 y.

Here, a pelvic discontinuity. Its result at 19 y.

Another at 20 y.

On this left hip, progressive remodelling of the graft at 1 m,

10 y and 18 y.

Right hip, same patient, acetabular protrusion, partial resorption of a too thick graft fragment and

bone remodelling at 10 y and 18 y.

Long term outcome of this technique

was published 8 years ago in Clinical Orthopaedics and Related Research.

The series is composed of 53 patients with an average age of 58 years, operated on from 1976 to 1986. They represent a continuous series of 60 acetabular reconstructions done by one surgeon and using a Charnley Kerboull prosthesis.

It was, most of the time, a failure of a THR, more often metal-polyethylene than metal-metal and for nearly 50 % a recurrent failure.

Acetabular deficiency, classified according to SOFCOT and AAOS, was of type III for 48 hips and of type IV, for 12. According to Paprosky classification all were of type III, A for 23 and B for 37.

They all had a physical and radiological examination at 6 weeks, 3 months, 6 months, 1 year and then every 2 or 3 years. The average follow-up of the series is 12 y 4 m. 8 patients (10 hips) died 4 to 18 years postoperatively. No one was lost to follow-up.

Complications were as follows: one trochanteric non union, one DVT, a deep haematoma was debrided, a transient peroneal palsy. There was no infection, no dislocation in this series.

Clinical results, evaluated according to d’Aubigné score, were excellent or good for 53 out of 60 (88 %) and the global function was 17.7 versus 11.7 preoperatively.

Radiologically 57 were regarded as successes (no resorption of the grafts, no socket loosening).  Three failed (5 %) because of graft lysis due to polyethylene wear.

Graft resorption led to break of the armature or screws and socket loosening. Two were revised with the same technique and were successful 7 and 10 y. postoperatively.

This is one of them. The first change was a break of the armature at 3 y.

Five years later, graft resorption was complete, the device broken in 3 parts and the acetabular component loose. This case was revised with the same technique. Here the X-rays at 1 y.

and 7 y. One could not be revised because of poor cardio vascular conditions.

With a 92 % survival rate of the cemented fixation of the acetabular component at 16 y. and despite these few failures

this technique can be regarded as reliable, even at long term.